| رقم البند | اسم المادة ومواصفاتها | الوحدة | الكمية المطلوبة | الماركة | المنشأ | مدة التسليم | الأسعار بالدينار الأردني |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | السعر الإفرادي | السعر الإجمالي |
|  |  |  |  |  |  |  | ف | د | ف | د |
| 1 | Power hardware in the loop based microgrid testbench that contains the following 4 items: | 1. Real-time network simulator (RTNS) | عدد | 1 |  |  |  |  |  |  |  |
|  |  | 2.Software license to run the models | عدد | 1 |  |  |  |  |  |  |  |
|  |  | 3.Distributed Energy Resources (DER) Emulator | عدد | 3 |  |  |  |  |  |  |  |
|  |  | 4.Grid Emulator PHIL | عدد | 1 |  |  |  |  |  |  |  |
| 2 | Desktop PCs For data acquisition and system monitoring | عدد | 3 |  |  |  |  |  |  |  |

المواصفات الفنية الدقيقة لكل مادة تابعة لنظام المحاكي المطلوب موضحة حسب الجدول التالي :-

| البند (الأجهزة) Item (Equipment) | الوصف Description | العدد |
| --- | --- | --- |
| Real-time network simulator (RTNS) | The RTNS must offer computation capability in order to run power systems models in real- time The real-time simulator must offer a set of standard I/Os (Analogue Input-output channels, [-15 V; + 15 V], 16-bits resolution, Digital Input-output channels (0-30 V) The RTNS must be controlled by dedicated software modules define and manage the simulation environment. These software modules include the real-time operating system and a function to convert Simulink models into an executable simulator model file. The modeling environment must be based on Matlab/Simulink. The modeling environment must involve dynamic simulation of power systems in phasor mode and be used for the testing and integration of energy management systems. The System must be able to simulate microgrid models with 500 buses in minimum at 10 ms in real-time. The system must include a set of models ready to be used: Grid model / Microgrid Model Distributed Energy Resources models. These Distributed Energy Resources can represent: Wind turbine Solar system Battery with discharging and charging capability. AC Loads The grid/microgrid model must: Offer fault capability Offer islanded mode capability Be controllable through a user-friendly GUI. Be open for modification by the user. The DER models must Offer fault capability Be selected and configured through a GUI. Be based on MATLAB/Simulink/Simscape Power Systems Be open for modification by the user. Note: Integrated renewable energy module should include real-time network simulator (RTNS) to allow simulating a real network and investigating real models. In general, the module should allow a fully controlled (based on voltage and frequency) low voltage grid, fully controlled emulators, fully instrumented equipment and Software programs. | 1 |
| Software license | Software license to run the models MATLAB/Simulink. | 1 |
| Distributed Energy Resources (DER) Emulator | Minimum 5 kVA Voltage range of 380/220 V three/single phase system 100 % sinking capability (four-quadrant operation) Maximum Total harmonic distortion (THD) of 0.5 % Feedback of three voltages and three current measurements to real-time network simulator. Dynamic response less than 5 µs. | 3 |
| Grid Emulator PHIL | Minimum 5 kVA. Voltage range of 208 - 253 Vac per phase. 100% sinking capability (four-quadrant operation). Minimum of 5 kHz bandwidth at -3db. Maximum Total harmonic distortion (THD) of 0.5 %. Feedback of three voltages and three current measurements to real-time network simulator (RTNS) Dynamic response less than 5 µs. Direct connection to the micro grid Bus (AC). No additional hardware to connect the DER to the 3-phase bus. | 1 |
| Desktop PCs For data acquisition and system monitoring | Processor – quad core 2.4 GHz+ (i7 series Intel processor or equivalent AMD) RAM – 16 GB or more Hard Drive – 256 GB or larger solid-state hard drive Graphics Card – any with Display Port/HDMI Monitor – 19" widescreen LCD with Display Port/HDMI Operating System – Windows 10 Professional edition. | 3 |

شروط خاصة للعطاء:

        - كفالة صيانة لمدة 3 سنوات.

        - دعم فني لمدة 24 شهر من تاريخ استلام لجنة الاستلام في الجامعة.

الاسـم :

التوقيع  :

الختـم :